## Run summary
Run # | Beam | Length (s) | Length (m) | B/G (sec) | Beam on (sec) | Beam off (sec) | Tape move (sec) | B/G (sec) | Total | Good? | Note
Start with 148La
100 | 148La | 3500.2 | 58.3367 | 1 | 5 | 4 | 1 | 1 | 12 | y | 159 keV
101 | 148La | 3639.8 | 60.6633 | 1 | 5 | 4 | 1 | 1 | 12 | y
102 | 148La | 3607 | 60.1167 | 1 | 5 | 4 | 1 | 1 | 12 | y
103 | 148La | 3801.3 | 63.355 | 1 | 5 | 4 | 1 | 1 | 12 | y
104 | 148La | 4647 | 77.45 | 1 | 5 | 4 | 1 | 1 | 12 | y
105 | 148La | 3911 | 65.1833 | 1 | 5 | 4 | 1 | 1 | 12 | y
106 | 148La | 3810.1 | 63.5017 | 1 | 5 | 4 | 1 | 1 | 12 | y
107 | 148La | 2569.3 | 42.8217 | 1 | 5 | 4 | 1 | 1 | 12 | y
108 | 148La | 660.1 | 11.0017 | 1 | 5 | 4 | 1 | 1 | 12 | y | "Not sure this even ran". This is OK
109 | 148La | 193.7 | 3.2283 | 1 | 5 | 4 | 1 | 1 | 12 |  | "Digitizer 4 not reading out any rates". Probably junk
110 | 148La | 653.5 | 10.8917 | 1 | 5 | 4 | 1 | 1 | 12 |  | "No reading on VME02 - stop run". Probably junk
111 | 148La | 1653 | 27.55 | 1 | 5 | 4 | 1 | 1 | 12 |  | No data
112 | 148La | 2195.1 | 36.585 | 1 | 5 | 4 | 1 | 1 | 12 | y | Run stopped bc "Guy working CARIBU platform"
113 | 148La | 3979.7 | 66.3283 | 1 | 5 | 4 | 1 | 1 | 12 | y | No runs114-119
120 | 148La | 3740 | 62.3333 | 1 | 5 | 4 | 1 | 1 | 12 | y | "Tape used to remove activity once a minute" hereafter as motor controller cycle changed
121 | 148La | 3760.2 | 62.67 | 1 | 5 | 4 | 1 | 1 | 12 | y
122 | 148La | 3296.8 | 54.9467 | 1 | 5 | 4 | 1 | 1 | 12 | y
123 | 148La | 3586.9 | 59.7817 | 1 | 5 | 4 | 1 | 1 | 12 | y
124 | 148La | 3711.8 | 61.8633 | 1 | 5 | 4 | 1 | 1 | 12 | y
125 | 148La | 3033.1 | 50.5517 | 1 | 5 | 4 | 1 | 1 | 12 | y | "Tape not working" 20mins into run. Laptop turned off and on again, tape then working again, contaminants increasing here
126 | 148La | 3560.9 | 59.3483 | 1 | 5 | 4 | 1 | 1 | 12 | y
127 | 148La | 3378.1 | 56.3017 | 1 | 5 | 4 | 1 | 1 | 12 | y
128 | 148La | 3643.7 | 60.7283 | 1 | 5 | 4 | 1 | 1 | 12 | y
129 | 148La | 4347.2 | 72.4533 | 1 | 5 | 4 | 1 | 1 | 12 | y
130 | 148La | 4208.1 | 70.135 | 1 | 5 | 4 | 1 | 1 | 12 | y | "Rates down by a factor of 2 for last 25 mins of run"
131 | 148La | 4506.8 | 75.1133 | 1 | 5 | 4 | 1 | 1 | 12 | y | "Rates down by a factor of 2..."
132 | 148La | 59.5 | 0.99167 | 1 | 5 | 4 | 1 | 1 | 12 |  | "Beam taken away" after end of run 132.
133 | 148La | 3861.9 | 64.365 | 1 | 5 | 4 | 1 | 1 | 12 | y
134 | 148La | 0 | 0 | 1 | 5 | 4 | 1 | 1 | 12 |  | Problem with data files
135 | 148La | 3827.8 | 63.7967 | 1 | 5 | 4 | 1 | 1 | 12 | y
136 | 148La | 1006.2 | 16.77 | 1 | 5 | 4 | 1 | 1 | 12 | y
137 | 148La | 3218.7 | 53.645 | 1 | 5 | 4 | 1 | 1 | 12 | y
Change to 150La | [10 empty] | 110 keV or 130 keV
138 | 150La | 0 | 0 | 1 | 2 | 5 | 1 | 1 | 10 |  | "Data wasn't being written"
139 | 150La | 0 | 0 | 1 | 2 | 5 | 1 | 1 | 10 |  | "Data wasn't being written"
140 | 150La | 7435.6 | 123.9267 | 1 | 2 | 5 | 1 | 1 | 10 | y
141 | 150La | 2043.8 | 34.0633 | 1 | 2 | 5 | 1 | 1 | 10 | y | "Magnet changed to optimise 150Ce"
142 | 150La | 6297.4 | 104.9567 | 1 | 2 | 5 | 1 | 1 | 10 | y
143 | 150La | 3211.8 | 53.53 | 1 | 2 | 5 | 1 | 1 | 10 | y
144 | 150La | 252.2 | 4.2033 | 1 | 2 | 5 | 1 | 1 | 10 |  | Nothing written
145 | 150La | 59.9 | 0.99833 | 1 | 2 | 5 | 1 | 1 | 10 |  | "Tape move every 59 sec to remove long-lived activity"
146 | 150La | 3520.8 | 58.68 | 1 | 2 | 5 | 1 | 1 | 10 | y | "Sorted all 150la decay data -> 150La_sum.root"
147 | 150La | 8888.2 | 148.1367 | 1 | 2 | 5 | 1 | 1 | 10 | y
148 | 150La | 7979.3 | 132.9883 | 1 | 2 | 5 | 1 | 1 | 10 | y
149 | 150La | 4758.4 | 79.3067 | 1 | 2 | 5 | 1 | 1 | 10 | y
150 | 150La | 3594 | 59.9 | 1 | 2 | 5 | 1 | 1 | 10 | y
151 | 150La | 4731.1 | 78.8517 | 1 | 2 | 5 | 1 | 1 | 10 | y
152 | 150La | 3902.6 | 65.0433 | 1 | 2 | 5 | 1 | 1 | 10 | y
153 | 150La | 3613.1 | 60.2183 | 1 | 2 | 5 | 1 | 1 | 10 | y
154 | 150La | 4519.2 | 75.32 | 1 | 2 | 5 | 1 | 1 | 10 | y
155 | 150La | 5346.9 | 89.115 | 1 | 2 | 5 | 1 | 1 | 10 | y
156 | 150La | 3787.7 | 63.1283 | 1 | 2 | 5 | 1 | 1 | 10 | y
157 | 150La | 3932.3 | 65.5383 | 1 | 2 | 5 | 1 | 1 | 10 | y | Tape jammed partway through so tape mvmt turned off
158 | 150La | 3259.6 | 54.3267 | 1 | 2 | 5 | 1 | 1 | 10 | y
159 | 150La | 4095.9 | 68.265 | 1 | 2 | 5 | 1 | 1 | 10 | y
160 | 150La | 3065.8 | 51.0967 | 1 | 2 | 5 | 1 | 1 | 10 | y
161 | 150La | 4065.8 | 67.7633 | 1 | 2 | 5 | 1 | 1 | 10 | y
162 | 150La | 4598.6 | 76.6433 | 1 | 2 | 5 | 1 | 1 | 10 | y
163 | 150La | 4209.6 | 70.16 | 1 | 2 | 5 | 1 | 1 | 10 | y
164 | 150La | 7788.6 | 129.81 | 1 | 2 | 5 | 1 | 1 | 10 | y
165 | 150La | 6138.6 | 102.31 | 1 | 2 | 5 | 1 | 1 | 10 | y | Tape still off (i.e. not moving)
166 | 150La | 3663.4 | 61.0567 | 1 | 2 | 5 | 1 | 1 | 10 | y
167 | 150La | 3805.2 | 63.42 | 1 | 2 | 5 | 1 | 1 | 10 | y
168 | 150La | 1389.9 | 23.165 | 1 | 2 | 5 | 1 | 1 | 10 |  | "No data being collected"
Change to 152La
180 | 152La | 3713.9 | 61.8983 | 1 | 2 | 5 | 1 | 1 | 10 | y
181 | 152La | 4029.8 | 67.1633 | 1 | 2 | 5 | 1 | 1 | 10 | y
182 | 152La | 2722.8 | 45.38 | 1 | 2 | 5 | 1 | 1 | 10 | y
183 | 152La | 3327.1 | 55.4517 | 1 | 2 | 5 | 1 | 1 | 10 | y
184 | 152La | 2687.2 | 44.7867 | 1 | 2 | 5 | 1 | 1 | 10 | y
185 | 152La | 7105.2 | 118.42 | 1 | 1 | 3 | 1 | 1 | 7 | y | Changing to shorter tape cycle
186 | 152La | 7273 | 121.2167 | 1 | 1 | 3 | 1 | 1 | 7 | y
187 | 152La | 7383.3 | 123.055 | 1 | 1 | 3 | 1 | 1 | 7 | y
188 | 152La | 6881.4 | 114.69 | 1 | 1 | 3 | 1 | 1 | 7 | y
189 | 152La | 6884 | 114.7333 | 1 | 1 | 3 | 1 | 1 | 7 | y
190 | 152La | 7230.4 | 120.5067 | 1 | 1 | 3 | 1 | 1 | 7 | y
191 | 152La | 0 | 0 | 1 | 1 | 3 | 1 | 1 | 7 |  | "No data being collected"Stopped to check LaBr 2 signal
192 | 152La | 0 | 0 | 1 | 1 | 3 | 1 | 1 | 7 |  | "No data being collected". Run without LaBr 2
193 | 152La | 0 | 0 | 1 | 1 | 3 | 1 | 1 | 7 |  | "No data being collected". No middle LaBr (i.e. LaBr 2?) data
194 | 152La | 204 | 3.4 | 0.25 | 0.5 | 0.5 | 1 | 0.25 | 2.5 |  | Changing to shorter tape cycle
195 | 152La | 7568.7 | 126.145 | 0.25 | 0.5 | 0.5 | 1 | 0.25 | 2.5 | y
196 | 152La | 7141.9 | 119.0317 | 0.25 | 0.5 | 0.5 | 1 | 0.25 | 2.5 | y | start 16:35, end unknown
197 | 152La | 6006.7 | 100.1117 | 0.25 | 0.5 | 0.5 | 1 | 0.25 | 2.5 | y | start unknown, end 20:15
198 | 152La | 4283.5 | 71.3917 | 0.25 | 0.5 | 0.5 | 1 | 0.25 | 2.5 | y
199 | 152La | 5193.1 | 86.5517 | 0.25 | 0.5 | 0.5 | 1 | 0.25 | 2.5 | y
200 | 152La | 2715.5 | 45.2583 | 0.25 | 0.5 | 0.5 | 1 | 0.25 | 2.5 | y | CARIBU settings changed after run 200 to try enhance 152La
201 | 152La | 5377 | 89.6167 | 0.25 | 0.5 | 0.5 | 1 | 0.25 | 2.5 | y
202 | 152La | 3990 | 66.5 | 0.25 | 0.5 | 0.5 | 1 | 0.25 | 2.5 | y
203 | 152La | 5683.9 | 94.7317 | 0.25 | 0.5 | 0.5 | 1 | 0.25 | 2.5 | y
204 | 152La | 7446.6 | 124.11 | 0.25 | 0.5 | 0.5 | 1 | 0.25 | 2.5 | y
205 | 152La | 16858.5 | 280.975 | 0.25 | 0.5 | 0.5 | 1 | 0.25 | 2.5 |  | Might be garbage; check after sorting.
Change to calibrations
calib | am243-3 | 13.3 | 0.22167 | source | [6 empty] | Calibration. Tape cycle turned off for calibration source at implant point
calib | am243-2 | 473.2 | 7.8867 | source | [6 empty] | Calibration. Tape cycle turned off for calibration source at implant point
calib | am243-1 | 0 | 0 | source | [6 empty] | Calibration. Tape cycle turned off for calibration source at implant point
calib | eu152-2 | 579.8 | 9.6633 | source | [6 empty] | Calibration. Tape cycle turned off for calibration source at implant point
calib | eu152-1 | 599 | 9.9833 | source | [6 empty] | Calibration. Tape cycle turned off for calibration source at implant point
calib | ta182 | 3845 | 64.0833 | source | [6 empty] | Calibration. Tape cycle turned off for calibration source at implant point

## Cal summary
Run # | Source | La/Nd | Time | Source info? | Source loc.
am243-2 | Am243 | La | GOOD
am243 | Am243 | La | Baseline shifts?
background |  |  | 10
Bi207f | Bi207 | La
bi207-labr | Bi207 | La
cal1
cal2
cal3
cal4
cal5
cal6
cal7
cal8
cal9
Co56_again | Co56 | Nb | 4 hours? | 5 uCi, 1/24/14
Co56 | Co56 | Nb | junk
Co60_LaBrE | Co60 | La | 10
cs137-1 | Cs137 | La
cs137-2 | Cs137 | La
cs137-3 | Cs137 | La
cs137-4 | Cs137 | La
eu152-2 | Eu152 | La | GOOD
Eu152 | Eu152 | La | Baseline shifts?
junk
l2a
l2b
l2c
l2d
l2e
l2f
l2g
labrtest
Ta182 | Ta182 | La | 70
temp2
temp3
temp4
temp5
temp

## TAC summary
Run # | Detector | Delay (ns)
100 | 1 | 10
101 | 1 | 20
102 | 2 | 10
103 | 2 | 20
104 | junk
105 | 3 | 10
106 | 3 | 20
107 | 4 | 10
108 | 4 | 20
109 | junk
110 | 5 | 10
111 | 5 | 20

## gain matching
511 | Crystal
Run | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |  | Channel 6
100 | 1021.33 | 968.01 | 1021.68 | 1021.18 | 1019.25 | 1021.6 |  | 1021.22 | 1021.3 | 1021.62 | 1022.2 | 1021.82 | 1021.54 | 1021.86 | 1022.03 | 1020.84 | 1 | 968.011 | 2768.2087
120 | 1021.51 | 972.14 | 1021.68 | 1021.18 | 1019.25 | 1021.6 |  | 1021.22 | 1021.3 | 1021.62 | 1022.2 | 1021.82 | 1021.54 | 1021.86 | 1022.03 | 1020.84 | 2 | 969.041 | 2771.5918
140 | 1021.69 | 973.94 | 1021.68 | 1021.18 | 1019.25 | 1021.6 |  | 1021.22 | 1021.3 | 1021.62 | 1022.2 | 1021.82 | 1021.54 | 1021.86 | 1022.03 | 1020.84 | 3 | 969.6123 | 2773.6433
160 | 1021.68 | 973.17 | 1021.68 | 1021.18 | 1019.25 | 1021.6 |  | 1021.22 | 1021.3 | 1021.62 | 1022.2 | 1021.82 | 1021.54 | 1021.86 | 1022.03 | 1020.84 | 4 | 970.9225 | 2778.0869
180 | 1021.68 | 972.24 | 1021.68 | 1021.18 | 1019.25 | 1021.6 |  | 1021.22 | 1021.3 | 1021.62 | 1022.2 | 1021.82 | 1021.54 | 1021.86 | 1022.03 | 1020.84 | 5 | 972.2148 | 2780.8593
193 | 1021.72 | 973.66 | 1021.68 | 1021.18 | 1019.25 | 1021.6 |  | 1021.22 | 1021.3 | 1021.62 | 1022.2 | 1021.82 | 1021.54 | 1021.86 | 1022.03 | 1020.84 | 6 | 973.0326 | 2782.954
Average | 1021.6017 | 968.01 | 1021.68 | 1021.18 | 1019.25 | 1021.6 |  | 1021.22 | 1021.3 | 1021.62 | 1022.2 | 1021.82 | 1021.54 | 1021.86 | 1022.03 | 1020.84
1462 | Crystal
Run | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
100 | 2922.4 | 2768.22 | 2920.29 | 2921.82 | 2913.19 | 2921.59 |  | 2921.46 | 2921.37 | 2921.1 | 2921.79 | 2922.31 | 2920.88 | 2919.33 | 2921.33 | 2921.72
120 | 2922.2 | 2780.3 | 2920.4 | 2921.82
140 | 2922.82 | 2785.75 | 2920.82 | 2921.82 | 2913.49
160 | 2922.73 | 2783.48 | 2920.99 | 2921.82 | 2913.62
180 | 2922.79 | 2780.72 | 2920.88 | 2921.82 | 2913.65
193 | 2922.64 | 2785.4 | 2920.96 | 2921.82
Average | 2922.5967 | 2768.22 | 2920.7233 | 2921.82 | 2913.4875 | 2921.59 |  | 2921.46 | 2921.37 | 2921.1 | 2921.79 | 2922.31 | 2920.88 | 2919.33 | 2921.33 | 2921.72
| 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
1022 | 1021.6017 | 972.2148 | 1021.68 | 1021.18 | 1019.25 | 1021.6 | 0 | 1021.22 | 1021.3 | 1021.62 | 1022.2 | 1021.82 | 1021.54 | 1021.86 | 1022.03 | 1020.84
2921.64 | 2922.5967 | 2780.8593 | 2920.7233 | 2921.82 | 2913.4875 | 2921.59 | 0 | 2921.46 | 2921.37 | 2921.1 | 2921.79 | 2922.31 | 2920.88 | 2919.33 | 2921.33 | 2921.72
E(g) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
1022 |  |  |  |  | 1021.6017 | 972.2148 | 1021.68 | 1021.18 | 1019.25 | 1021.6 |  | 1021.22 | 1021.3 | 1021.62 | 1022.2 | 1021.82 | 1021.54 | 1021.86 | 1022.03 | 1020.84
2921.64 |  |  |  |  | 2922.5967 | 2780.8593 | 2920.7233 | 2921.82 | 2913.4875 | 2921.59 |  | 2921.46 | 2921.37 | 2921.1 | 2921.79 | 2922.31 | 2920.88 | 2919.33 | 2921.33 | 2921.72
m | 1 | 1 | 1 | 1 | 0.99929 | 1.0503 | 1.0003 | 0.99947 | 1.0029 | 0.99982 |  | 0.99968 | 0.99977 | 1.0001 | 1 | 0.99955 | 1.0002 | 1.0011 | 1.0002 | 0.99935
c | 0 | 0 | 0 | 0 | 1.1265 | 0.87165 | -0.001005 | 1.3573 | -0.15697 | 0.58819 |  | 1.1024 | 0.93113 | 0.29395 | -0.22691 | 0.63701 | 0.29865 | -1.0286 | -0.21296 | 1.8259
Crystal | m | c | gain old | offset old | gain new | offset new |  |  | 0 | 350 | 0 | 0 | 0 |  |  | 0 | 0
1 | 1 | 0 | 1 | 0 | 1 | 0 |  |  | 1 | 0 | 0.909 | 0 | 1 |  |  | 0 | 1
2 | 1 | 0 | 0.72448 | -10.398 | 0.72448 | -10.398 |  |  | 2 | 0 | 0.912 | -10.398 | 0.72448 |  |  | -10.398 | 0.72448
3 | 1 | 0 | 0.72205 | -9.932 | 0.72205 | -9.932 |  |  | 3 | 0 | 0.912 | -9.932 | 0.72205 |  |  | -9.932 | 0.72205
4 | 1 | 0 | 0.71747 | -9.929 | 0.71747 | -9.929 |  |  | 4 | 0 | 0.91 | -9.929 | 0.71747 |  |  | -9.929 | 0.71747
5 | 0.99929 | 1.1265 | 0.80776 | -10.853 | 0.80719 | -9.7265 |  |  | 5 | 0 | 0.91 | -9.7265 | 0.80719 |  |  | -10.853 | 0.80776
6 | 1.0503 | 0.87165 | 0.79105 | -10.335 | 0.83085 | -9.4633 |  |  | 6 | 0 | 0.91 | -9.4633 | 0.83085 |  |  | -10.335 | 0.79105
7 | 1.0003 | -0.001005 | 0.78234 | -9.632 | 0.78258 | -9.633 |  |  | 7 | 0 | 0.913 | -9.633 | 0.78258 |  |  | -9.632 | 0.78234
8 | 0.99947 | 1.3573 | 0.78232 | -10.883 | 0.78191 | -9.5257 |  |  | 8 | 0 | 0.91 | -9.5257 | 0.78191 |  |  | -10.883 | 0.78232
9 | 1.0029 | -0.15697 | 0.81045 | -9.625 | 0.81276 | -9.782 |  |  | 9 | 0 | 0.912 | -9.782 | 0.81276 |  |  | -9.625 | 0.81045
10 | 0.99982 | 0.58819 | 0.7887 | -10.324 | 0.78855 | -9.7358 |  |  | 10 | 0 | 0.914 | -9.7358 | 0.78855 |  |  | -10.324 | 0.7887
11 | 0 | 0 | 0.80406 | -10.468 | 0 | -10.468 |  |  | 11 | 0 | 0.912 | -10.468 | 0 |  |  | -10.468 | 0.80406
12 | 0.99968 | 1.1024 | 0.83686 | -11.296 | 0.8366 | -10.1936 |  |  | 12 | 0 | 0.914 | -10.1936 | 0.8366 |  |  | -11.296 | 0.83686
13 | 0.99977 | 0.93113 | 0.81643 | -10.624 | 0.81624 | -9.6929 |  |  | 13 | 0 | 0.912 | -9.6929 | 0.81624 |  |  | -10.624 | 0.81643
14 | 1.0001 | 0.29395 | 0.77685 | -10.059 | 0.77691 | -9.7651 |  |  | 14 | 0 | 0.91 | -9.7651 | 0.77691 |  |  | -10.059 | 0.77685
15 | 1 | -0.22691 | 0.7706 | -9.845 | 0.77062 | -10.0719 |  |  | 15 | 0 | 0.91 | -10.0719 | 0.77062 |  |  | -9.845 | 0.7706
16 | 0.99955 | 0.63701 | 0.7991 | -10.103 | 0.79874 | -9.466 |  |  | 16 | 0 | 0.91 | -9.466 | 0.79874 |  |  | -10.103 | 0.7991
17 | 1.0002 | 0.29865 | 0.78706 | -9.886 | 0.78718 | -9.5874 |  |  | 17 | 0 | 0.91 | -9.5874 | 0.78718 |  |  | -9.886 | 0.78706
18 | 1.0011 | -1.0286 | 0.81049 | -9.419 | 0.81141 | -10.4476 |  |  | 18 | 0 | 0.91 | -10.4476 | 0.81141 |  |  | -9.419 | 0.81049
19 | 1.0002 | -0.21296 | 0.79685 | -8.883 | 0.79699 | -9.096 |  |  | 19 | 0 | 0.912 | -9.096 | 0.79699 |  |  | -8.883 | 0.79685
20 | 0.99935 | 1.8259 | 0.80991 | -11.042 | 0.80938 | -9.2161 |  |  | 20 | 0 | 0.91 | -9.2161 | 0.80938 |  |  | -11.042 | 0.80991

## gain matching CN
511 | Crystal
Run | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
105 | 639.133 |  | 659.308 | 660.028 | 636.369
145
185
1462 | Crystal
Run | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
105 | 1815.86 |  | 1873.31 | 1874.3 | 1808.07
145
185
2614 | Crystal
Run | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
105 | 3243.95 |  | 3347.13 | 3349.01 | 3230.32
145
185
5507 | Crystal
Run | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
105 | 6827.25 |  | 7043.76 | 7045.4
145
185
4218 | Crystal
Run | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
105 |  |  |  |  | 5213.39
145
185
cell filled in gray means peak was not clearly distinguishable from bkgd
Lack of data in crystal channels 6 and 11 for some reason
Files in /data/caribu/ladecay/rootfiles/nocal analysed under the assumption that they had not been sorted, and thus have gain 1 and offset 0
Ideally we would also fit peak at 4218 keV to improve calibration at higher energies, but this peak is fairly weak and thus not easy to fit well